## SD -87XBX-2PDT Optional Crosses
Struthers-Dunn Part Numbers - NO STUD on Relay DPDT / 2PDT Contacts Handle 0.25-5 Amps
Standard/BASIC Struthers-Dunn Part Number - NO Stud | OPTIONAL CROSS Struthers-Dunn Part Number - NO Stud, With LED | OPTIONAL CROSS Struthers-Dunn Part Number - NO Stud, With Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - NO Stud, With LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XBXH2E5-6VAC | 87XBXH2E5L-6VAC | N/A | N/A | 10.5±10%
87XBXH2E5-12VAC | 87XBXH2E5L-12VAC | N/A | N/A | 41±10%
87XBXH2E5-24VAC | 87XBXH2E5L-24VAC | N/A | N/A | 180±10%
87XBXH2E5-120VAC | 87XBXH2E5L-120VAC | N/A | N/A | 4550±10%
87XBXH2E5-240VAC | 87XBXH2E5L-240VAC | N/A | N/A | 17,230±10%
87XBXH2E5-6VDC | 87XBXH2E5L-6VDC | 87XBXH2E5V-6VDC | 87XBXH2E5LV-6VDC | 40±10%
87XBXH2E5-12VDC | 87XBXH2E5L-12VDC | 87XBXH2E5V-12VDC | 87XBXH2E5LV-12VDC | 160±10%
87XBXH2E5-24VDC | 87XBXH2E5L-24VDC | 87XBXH2E5V-24VDC | 87XBXH2E5LV-24VDC | 650±10%
87XBXH2E5-36VDC | 87XBXH2E5L-36VDC | 87XBXH2E5V-36VDC | 87XBXH2E5LV-36VDC | 1500±10%
87XBXH2E5-48VDC | 87XBXH2E5L-48VDC | 87XBXH2E5V-48VDC | 87XBXH2E5LV-48VDC | 2600±10%
87XBXH2E5-72VDC | 87XBXH2E5L-72VDC | 87XBXH2E5V-72VDC | 87XBXH2E5LV-72VDC | 5850±10%
87XBXH2E5-110/125VDC | 87XBXH2E5L-110/125VDC | 87XBXH2E5V-110/125VDC | 87XBXH2E5LV-110/125VDC | 12000±10%
Struthers-Dunn Part Numbers - STUD on TERMINAL Side- DPDT / 2PDT Contacts Handle 0.25-5 Amps
DIRECT CROSS Struthers-Dunn Part Number - with Stud on TERMINAL Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on Terminal Side, With LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on Terminal Side, Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on Terminal Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XBXH3E5-6VAC | 87XBXH3E5L-6VAC | N/A | N/A | 10.5±10%
87XBXH3E5-12VAC | 87XBXH3E5L-12VAC | N/A | N/A | 41±10%
87XBXH3E5-24VAC | 87XBXH3E5L-24VAC | N/A | N/A | 180±10%
87XBXH3E5-120VAC | 87XBXH3E5L-120VAC | N/A | N/A | 4550±10%
87XBXH3E5-240VAC | 87XBXH3E5L-240VAC | N/A | N/A | 17,230±10%
87XBXH3E5-6VDC | 87XBXH3E5L-6VDC | 87XBXH3E5V-6VDC | 87XBXH3E5LV-6VDC | 40±10%
87XBXH3E5-12VDC | 87XBXH3E5L-12VDC | 87XBXH3E5V-12VDC | 87XBXH3E5LV-12VDC | 160±10%
87XBXH3E5-24VDC | 87XBXH3E5L-24VDC | 87XBXH3E5V-24VDC | 87XBXH3E5LV-24VDC | 650±10%
87XBXH3E5-36VDC | 87XBXH3E5L-36VDC | 87XBXH3E5V-36VDC | 87XBXH3E5LV-36VDC | 1500±10%
87XBXH3E5-48VDC | 87XBXH3E5L-48VDC | 87XBXH3E5V-48VDC | 87XBXH3E5LV-48VDC | 2600±10%
87XBXH3E5-72VDC | 87XBXH3E5L-72VDC | 87XBXH3E5V-72VDC | 87XBXH3E5LV-72VDC | 5850±10%
87XBXH3E5-110/125VDC | 87XBXH3E5L-110/125VDC | 87XBXH3E5V-110/125VDC | 87XBXH3E5LV-110/125VDC | 12000±10%
Struthers-Dunn Part Numbers - STUD on NARROW Side- DPDT / 2PDT Contacts Handle 0.25-5 Amps
BASIC Struthers-Dunn Part Number - with Stud on NARROW Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on NARROW Side, With LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on NARROW Side, Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on NARROW Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XBXH4E5-6VAC | 87XBXH4E5L-6VAC | N/A | N/A | 10.5±10%
87XBXH4E5-12VAC | 87XBXH4E5L-12VAC | N/A | N/A | 41±10%
87XBXH4E5-24VAC | 87XBXH4E5L-24VAC | N/A | N/A | 180±10%
87XBXH4E5-120VAC | 87XBXH4E5L-120VAC | N/A | N/A | 4550±10%
87XBXH4E5-240VAC | 87XBXH4E5L-240VAC | N/A | N/A | 17,230±10%
87XBXH4E5-6VDC | 87XBXH4E5L-6VDC | 87XBXH4E5V-6VDC | 87XBXH4E5LV-6VDC | 40±10%
87XBXH4E5-12VDC | 87XBXH4E5L-12VDC | 87XBXH4E5V-12VDC | 87XBXH4E5LV-12VDC | 160±10%
87XBXH4E5-24VDC | 87XBXH4E5L-24VDC | 87XBXH4E5V-24VDC | 87XBXH4E5LV-24VDC | 650±10%
87XBXH4E5-36VDC | 87XBXH4E5L-36VDC | 87XBXH4E5V-36VDC | 87XBXH4E5LV-36VDC | 1500±10%
87XBXH4E5-48VDC | 87XBXH4E5L-48VDC | 87XBXH4E5V-48VDC | 87XBXH4E5LV-48VDC | 2600±10%
87XBXH4E5-72VDC | 87XBXH4E5L-72VDC | 87XBXH4E5V-72VDC | 87XBXH4E5LV-72VDC | 5850±10%
87XBXH4E5-110/125VDC | 87XBXH4E5L-110/125VDC | 87XBXH4E5V-110/125VDC | 87XBXH4E5LV-110/125VDC | 12000±10%
Struthers-Dunn Part Numbers - STUD on TOP Side- NOT AVAILABLE with LED DPDT / 2PDT Contacts Handle 0.25-5 Amps
BASIC Struthers-Dunn Part Number - with Stud on TOP Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on TOP Side, With LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on TOP Side, Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on TOP Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XBXH5E5-6VAC | N/A | N/A | N/A | 10.5±10%
87XBXH5E5-12VAC | N/A | N/A | N/A | 41±10%
87XBXH5E5-24VAC | N/A | N/A | N/A | 180±10%
87XBXH5E5-120VAC | N/A | N/A | N/A | 4550±10%
87XBXH5E5-240VAC | N/A | N/A | N/A | 17,230±10%
87XBXH5E5-6VDC | N/A | 87XBXH5E5V-6VDC | N/A | 40±10%
87XBXH5E5-12VDC | N/A | 87XBXH5E5V-12VDC | N/A | 160±10%
87XBXH5E5-24VDC | N/A | 87XBXH5E5V-24VDC | N/A | 650±10%
87XBXH5E5-36VDC | N/A | 87XBXH5E5V-36VDC | N/A | 1500±10%
87XBXH5E5-48VDC | N/A | 87XBXH5E5V-48VDC | N/A | 2600±10%
87XBXH5E5-72VDC | N/A | 87XBXH5E5V-72VDC | N/A | 5850±10%
87XBXH5E5-110/125VDC | N/A | 87XBXH5E5V-110/125VDC | N/A | 12000±10%
Struthers-Dunn Part Numbers - STUD on WIDE Side- DPDT / 2PDT Contacts Handle 0.25-5 Amps
BASIC Struthers-Dunn Part Number - with Stud on WIDE Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on WIDE Side, With LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on WIDE Side, Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on WIDE Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XBXH6E5-6VAC | 87XBXH6E5L-6VAC | N/A | N/A | 10.5±10%
87XBXH6E5-12VAC | 87XBXH6E5L-12VAC | N/A | N/A | 41±10%
87XBXH6E5-24VAC | 87XBXH6E5L-24VAC | N/A | N/A | 180±10%
87XBXH6E5-120VAC | 87XBXH6E5L-120VAC | N/A | N/A | 4550±10%
87XBXH6E5-240VAC | 87XBXH6E5L-240VAC | N/A | N/A | 17,230±10%
87XBXH6E5-6VDC | 87XBXH6E5L-6VDC | 87XBXH6E5V-6VDC | 87XBXH6E5LV-6VDC | 40±10%
87XBXH6E5-12VDC | 87XBXH6E5L-12VDC | 87XBXH6E5V-12VDC | 87XBXH6E5LV-12VDC | 160±10%
87XBXH6E5-24VDC | 87XBXH6E5L-24VDC | 87XBXH6E5V-24VDC | 87XBXH6E5LV-24VDC | 650±10%
87XBXH6E5-36VDC | 87XBXH6E5L-36VDC | 87XBXH6E5V-36VDC | 87XBXH6E5LV-36VDC | 1500±10%
87XBXH6E5-48VDC | 87XBXH6E5L-48VDC | 87XBXH6E5V-48VDC | 87XBXH6E5LV-48VDC | 2600±10%
87XBXH6E5-72VDC | 87XBXH6E5L-72VDC | 87XBXH6E5V-72VDC | 87XBXH6E5LV-72VDC | 5850±10%
87XBXH6E5-110/125VDC | 87XBXH6E5L-110/125VDC | 87XBXH6E5V-110/125VDC | 87XBXH6E5LV-110/125VDC | 12000±10%

## SD -87XDX-4PDT Optional Crosses
STANDARD Struthers-Dunn - Part Numbers - NO STUD - XDX / 4PDT Contacts Handle 0.25-5 Amps
Standard/BASIC Struthers-Dunn Part Number - with NO Stud | OPTIONAL CROSS Struthers-Dunn Part Number - NO Stud, With LED | OPTIONAL CROSS Struthers-Dunn Part Number - NO Stud, With Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - NO Stud, With LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XDXH2E5-6VAC | 87XDXH2E5L-6VAC | N/A | N/A | 10.5±10%
87XDXH2E5-12VAC | 87XDXH2E5L-12VAC | N/A | N/A | 41±10%
87XDXH2E5-24VAC | 87XDXH2E5L-24VAC | N/A | N/A | 180±10%
87XDXH2E5-120VAC | 87XDXH2E5L-120VAC | N/A | N/A | 4550±10%
87XDXH2E5-240VAC | 87XDXH2E5L-240VAC | N/A | N/A | 17,260±10%
87XDXH2E5-6VDC | 87XDXH2E5L-6VDC | 87XDXH2E5V-6VDC | 87XDXH2E5LV-6VDC | 40±10%
87XDXH2E5-12VDC | 87XDXH2E5L-12VDC | 87XDXH2E5V-12VDC | 87XDXH2E5LV-12VDC | 160±10%
87XDXH2E5-24VDC | 87XDXH2E5L-24VDC | 87XDXH2E5V-24VDC | 87XDXH2E5LV-24VDC | 650±10%
87XDXH2E5-36VDC | 87XDXH2E5L-36VDC | 87XDXH2E5V-36VDC | 87XDXH2E5LV-36VDC | 1500±10%
87XDXH2E5-48VDC | 87XDXH2E5L-48VDC | 87XDXH2E5V-48VDC | 87XDXH2E5LV-48VDC | 2600±10%
87XDXH2E5-72VDC | 87XDXH2E5L-72VDC | 87XDXH2E5V-72VDC | 87XDXH2E5LV-72VDC | 5850±10%
87XDXH2E5-110/125VDC | 87XDXH2E5L-110/125VDC | 87XDXH2E5V-110/125VDC | 87XDXH2E5LV-110/125VDC | 12000±10%
STANDARD Struthers-Dunn - Part Numbers - STUD on TERMINAL Side - XDX / 4PDT Contacts Handle 0.25-5 Amps
BASIC Struthers-Dunn Part Number - with Stud on TERMINAL Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on Terminal Side, LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on Terminal Side, Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on Terminal Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XDXH3E5-6VAC | 87XDXH3E5L-6VAC | N/A | N/A | 10.5±10%
87XDXH3E5-12VAC | 87XDXH3E5L-12VAC | N/A | N/A | 41±10%
87XDXH3E5-24VAC | 87XDXH3E5L-24VAC | N/A | N/A | 180±10%
87XDXH3E5-120VAC | 87XDXH3E5L-120VAC | N/A | N/A | 4550±10%
87XDXH3E5-240VAC | 87XDXH3E5L-240VAC | N/A | N/A | 17,260±10%
87XDXH3E5-6VDC | 87XDXH3E5L-6VDC | 87XDXH3E5V-6VDC | 87XDXH3E5LV-6VDC | 40±10%
87XDXH3E5-12VDC | 87XDXH3E5L-12VDC | 87XDXH3E5V-12VDC | 87XDXH3E5LV-12VDC | 160±10%
87XDXH3E5-24VDC | 87XDXH3E5L-24VDC | 87XDXH3E5V-24VDC | 87XDXH3E5LV-24VDC | 650±10%
87XDXH3E5-36VDC | 87XDXH3E5L-36VDC | 87XDXH3E5V-36VDC | 87XDXH3E5LV-36VDC | 1500±10%
87XDXH3E5-48VDC | 87XDXH3E5L-48VDC | 87XDXH3E5V-48VDC | 87XDXH3E5LV-48VDC | 2600±10%
87XDXH3E5-72VDC | 87XDXH3E5L-72VDC | 87XDXH3E5V-72VDC | 87XDXH3E5LV-72VDC | 5850±10%
87XDXH3E5-110/125VDC | 87XDXH3E5L-110/125VDC | 87XDXH3E5V-110/125VDC | 87XDXH3E5LV-110/125VDC | 12000±10%
Struthers-Dunn Part Numbers - STUD on NARROW Side- XDX / 4PDT Contacts Handle 0.25-5 Amps
BASIC Struthers-Dunn Part Number - with Stud on NARROW Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on NARROW Side, LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on NARROW Side, Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on NARROW Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XDXH4E5-6VAC | 87XDXH4E5L-6VAC | N/A | N/A | 10.5±10%
87XDXH4E5-12VAC | 87XDXH4E5L-12VAC | N/A | N/A | 41±10%
87XDXH4E5-24VAC | 87XDXH4E5L-24VAC | N/A | N/A | 180±10%
87XDXH4E5-120VAC | 87XDXH4E5L-120VAC | N/A | N/A | 4550±10%
87XDXH4E5-240VAC | 87XDXH4E5L-240VAC | N/A | N/A | 17,260±10%
87XDXH4E5-6VDC | 87XDXH4E5L-6VDC | 87XDXH4E5V-6VDC | 87XDXH4E5LV-6VDC | 40±10%
87XDXH4E5-12VDC | 87XDXH4E5L-12VDC | 87XDXH4E5V-12VDC | 87XDXH4E5LV-12VDC | 160±10%
87XDXH4E5-24VDC | 87XDXH4E5L-24VDC | 87XDXH4E5V-24VDC | 87XDXH4E5LV-24VDC | 650±10%
87XDXH4E5-36VDC | 87XDXH4E5L-36VDC | 87XDXH4E5V-36VDC | 87XDXH4E5LV-36VDC | 1500±10%
87XDXH4E5-48VDC | 87XDXH4E5L-48VDC | 87XDXH4E5V-48VDC | 87XDXH4E5LV-48VDC | 2600±10%
87XDXH4E5-72VDC | 87XDXH4E5L-72VDC | 87XDXH4E5V-72VDC | 87XDXH4E5LV-72VDC | 5850±10%
87XDXH4E5-110/125VDC | 87XDXH4E5L-110/125VDC | 87XDXH4E5V-110/125VDC | 87XDXH4E5LV-110/125VDC | 12000±10%
Struthers-Dunn Part Numbers - STUD on TOP Side- NOT AVAILABLE with LED XDX / 4PDT Contacts Handle 0.25-5 Amps
BASIC Struthers-Dunn Part Number - with Stud on TOP Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on TOP Side, with LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on TOP Side, with Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on TOP Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XDXH5E5-6VAC | N/A | N/A | N/A | 10.5±10%
87XDXH5E5-12VAC | N/A | N/A | N/A | 41±10%
87XDXH5E5-24VAC | N/A | N/A | N/A | 180±10%
87XDXH5E5-120VAC | N/A | N/A | N/A | 4550±10%
87XDXH5E5-240VAC | N/A | N/A | N/A | 17,260±10%
87XDXH5E5-6VDC | N/A | 87XDXH5E5V-6VDC | N/A | 40±10%
87XDXH5E5-12VDC | N/A | 87XDXH5E5V-12VDC | N/A | 160±10%
87XDXH5E5-24VDC | N/A | 87XDXH5E5V-24VDC | N/A | 650±10%
87XDXH5E5-36VDC | N/A | 87XDXH5E5V-36VDC | N/A | 1500±10%
87XDXH5E5-48VDC | N/A | 87XDXH5E5V-48VDC | N/A | 2600±10%
87XDXH5E5-72VDC | N/A | 87XDXH5E5V-72VDC | N/A | 5850±10%
87XDXH5E5-110/125VDC | N/A | 87XDXH5E5V-110/125VDC | N/A | 12000±10%
Struthers-Dunn Part Numbers - STUD on WIDE Side- XDX / 4PDT Contacts Handle 0.25-5 Amps
BASIC Struthers-Dunn Part Number - with Stud on WIDE Side | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on WIDE Side, with LED | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on WIDE Side, with Coil Suppression Diode | OPTIONAL CROSS Struthers-Dunn Part Number - with Stud on WIDE Side, with LED and Coil Suppression Diode | Struthers-Dunn Coil Resistance (Ohms)
87XDXH6E5-6VAC | 87XDXH6E5L-6VAC | N/A | N/A | 10.5±10%
87XDXH6E5-12VAC | 87XDXH6E5L-12VAC | N/A | N/A | 41±10%
87XDXH6E5-24VAC | 87XDXH6E5L-24VAC | N/A | N/A | 180±10%
87XDXH6E5-120VAC | 87XDXH6E5L-120VAC | N/A | N/A | 4550±10%
87XDXH6E5-240VAC | 87XDXH6E5L-240VAC | N/A | N/A | 17,260±10%
87XDXH6E5-6VDC | 87XDXH6E5L-6VDC | 87XDXH6E5V-6VDC | 87XDXH6E5LV-6VDC | 40±10%
87XDXH6E5-12VDC | 87XDXH6E5L-12VDC | 87XDXH6E5V-12VDC | 87XDXH6E5LV-12VDC | 160±10%
87XDXH6E5-24VDC | 87XDXH6E5L-24VDC | 87XDXH6E5V-24VDC | 87XDXH6E5LV-24VDC | 650±10%
87XDXH6E5-36VDC | 87XDXH6E5L-36VDC | 87XDXH6E5V-36VDC | 87XDXH6E5LV-36VDC | 1500±10%
87XDXH6E5-48VDC | 87XDXH6E5L-48VDC | 87XDXH6E5V-48VDC | 87XDXH6E5LV-48VDC | 2600±10%
87XDXH6E5-72VDC | 87XDXH6E5L-72VDC | 87XDXH6E5V-72VDC | 87XDXH6E5LV-72VDC | 5850±10%
87XDXH6E5-110/125VDC | 87XDXH6E5L-110/125VDC | 87XDXH6E5V-110/125VDC | 87XDXH6E5LV-110/125VDC | 12000±10%

## 87H DIRECT Cross to SE 782H
Struthers-Dunn Part Numbers - XDX/4PDT Contacts. Handle 0.25-5 Amps. They are a DIRECT CROSS to ALL SE 4-Pole Relays Contact Amp ratings! |  | SE/Magnecraft - 782XDX - Legacy Part numbers (STUD on TERMINAL Side)
DIRECT CROSS Struthers-Dunn Part Number - with Stud on Terminal Side | Struthers-Dunn Coil Resistance (Ohms) | 1 Amp SE Part Number (32) | 3 Amp SE Part Number (10) | 5 Amp SE Part Number (21) | Contact Configuration | Terminal Style - Solder /Socket | Coil Voltage | Control | SE Coil Resistance (Ohms)
87XDXH3E5-6VAC | 10.5±10% | 782XDXH32-6A | 782XDXH10-6A | 782XDXH21-6A | 4PDT | Plug-in | 6 VAC | AC | 9.6 Ohm
87XDXH3E5-12VAC | 41±10% | 782XDXH32-12A | 782XDXH10-12A | 782XDXH21-12A | 4PDT | Plug-in | 12 VAC | AC | 46 Ohm
87XDXH3E5-24VAC | 180±10% | 782XDXH32-24A | 782XDXH10-24A | 782XDXH21-24A | 4PDT | Plug-in | 24 VAC | AC | 180 Ohm
87XDXH3E5-120VAC | 4550±10% | 782XDXH32-120A | 782XDXH10-120A | 782XDXH21-120A | 4PDT | Plug-in | 120 VAC | AC | 3900 Ohm
87XDXH3E5-240VAC | 17,260±10% | 782XDXH32-220/240A | 782XDXH10-220/240A | 782XDXH21-220/240A | 4PDT | Plug-in | 220/240 VAC | AC | 15720 Ohm
87XDXH3E5-6VDC | 40±10% | 782XDXH32-6D | 782XDXH10-6D | 782XDXH21-6D | 4PDT | Plug-in | 6 VDC | DC | 40 Ohm
87XDXH3E5-12VDC | 160±10% | 782XDXH32-12D | 782XDXH10-12D | 782XDXH21-12D | 4PDT | Plug-in | 12 VDC | DC | 160 Ohm
87XDXH3E5-24VDC | 650±10% | 782XDXH32-24D | 782XDXH10-24D | 782XDXH21-24D | 4PDT | Plug-in | 24 VDC | DC | 650 Ohm
87XDXH3E5-36VDC | 1500±10% | 782XDXH32-36D | 782XDXH10-36D | 782XDXH21-36D | 4PDT | Plug-in | 36 VDC | DC | 1500 Ohm?
87XDXH3E5-48VDC | 2600±10% | 782XDXH32-48D | 782XDXH10-48D | 782XDXH21-48D | 4PDT | Plug-in | 48 VDC | DC | 2600 Ohm
87XDXH3E5-110/125VDC | 12000±10% | 782XDXH32-110D | 782XDXH10-110D | 782XDXH21-110D | 4PDT | Plug-in | 110/125 VDC | DC | 11,000 Ohm
Struthers-Dunn Part Numbers - XBX/2PDT Contacts. Handle 0.25-5 Amps. They are a DIRECT CROSS to ALL SE 2-Pole Relays Contact Amp ratings! |  | SE/Magnecraft - 782XBX - Legacy Part numbers (STUD on TERMINAL Side)
DIRECT CROSS Struthers-Dunn Part Number - with Stud on Terminal Side | Struthers-Dunn Coil Resistance (Ohms) | 1 Amp SE Part Number (32) | 3 Amp SE Part Number (10) | 5 Amp SE Part Number (21) | Contact Configuration | Terminal Style - Solder /Socket | Coil Voltage | Control | SE Coil Resistance (Ohms)
87XBXH3E5-24VAC | 180±10% | 782XBXH32-24A | 782XBXH10-24A | 782XBXH21-24A | DPDT | Plug-in | 24 VAC 50/60 Hz | AC | 180 Ohm
87XBXH3E5-120VAC | 4550±10% | 782XBXH32-120A | 782XBXH10-120A | 782XBXH21-120A | DPDT | Plug-in | 120 VAC 50/60 Hz | AC | 3900 Ohm
87XBXH3E5-240VAC | 17,260±10% | 782XBXH32-240A | 782XBXH10-240A | 782XBXH21-240A | DPDT | Plug-in | 240 VAC 50/60 Hz | AC | 15720 Ohm
87XBXH3E5-12VDC | 160±10% | 782XBXH32-12D | 782XBXH10-12D | 782XBXH21-12D | DPDT | Plug-in | 12 VDC | DC | 160 Ohm
87XBXH3E5-24VDC | 650±10% | 782XBXH32-24D | 782XBXH10-24D | 782XBXH21-24D | DPDT | Plug-in | 24 VDC | DC | 650 Ohm
87XBXH3E5-110/125VDC | 12000±10% | 782XBXH32-110/125D | 782XBXH10-110/125D | 782XBXH21-110/125D | DPDT | Plug-in | 110/125 VDC | DC | 13800 Ohm

## 87XDXH3 -All Brands- SE Crosses
Schneider Electric Relays Manufactured - (All have the Mounting Stud on the Terminal Side the relays.) that are Brand Labeled Competitor / Cross Reference Part Numbers
Struthers-Dunn Part Number - DIRECT CROSS with Stud on Terminal Side | Struthers-Dunn Coil Resistance (Ohms) | TE, TYCO, Potter & Brumfield 3AMP | TE, TYCO, Potter & Brumfield 5AMP | AUTOMATION DIRECT (SE RELAY) 3 Amp | AUTOMATION DIRECT (SE RELAY) 5 Amp | NTE Part # (SE Relay - 5A) | C3 CONTROLS 5 Amp | SIEMENS Relays Made by SE | Dayton Part Number for Schneider Electric Relay # | Grainger Part # for Schneider Electric Part Number | Grainger Part # for Square D Part Number of Schneider Electric Relay
87XDXH3E5-12VAC | 41±10% | n/a | n/a | H782-4C3-12A | H782-4C5-12A | n/a | n/a
87XDXH3E5-24VAC | 180±10% | KHS17A11-24 | KHS17A12-24 | H782-4C3-24A | H782-4C5-24A | n/a | HGPRM-B4C05C |  | 1EHU6 | 6CWG2 | N/A
87XDXH3E5-120VAC | 4,550±10% | KHS17A11-120 | KHS17A12-120 | H782-4C3-120A | H782-4C5-120A | n/a | HGPRM-B4C05D |  | N/A | 6CWF9 | 2DW34
87XDXH3E5-240VAC | 17,260±10% | n/a | n/a | H782-4C3-240A | H782-4C5-240A | n/a | HGPRM-B4C05F |  | N/A | 6CWG1 | N/A
87XDXH3E5-12VDC | 160±10% | KHS17D11-12 | KHS17D12-12 | H782-4C3-12D | H782-4C5-12D | R12-17D5-12H | HGPRM-B4C05ZB | 3TX7127-3HB03 | 1EHU4 | 6CWG0 | N/A
87XDXH3E5-24VDC | 650±10% | KHS17D11-24 | KHS17D12-24 | H782-4C3-24D | H782-4C5-24D | R12-17D5-24H | HGPRM-B4C05ZC | 3TX7127-3HC03 | 1EHU7 | 6CWG3 | N/A
87XDXH3E5-110/125VDC | 12,000±10% | KHS17D11-110 | KHS17D12-110 | n/a | n/a | n/a | HGPRM-B4C05ZD | 3TX7127-3HF13

## 87XDXH Cross to OMRON Relays
Struthers-Dunn 87H relays meet or exceed OMRON relays - Bifurcated Contacts and Regular contacts - No Mounting Stud on Relay
Struthers-Dunn Part Number - NO Stud on Relay | Struthers-Dunn Coil Resistance (Ohms) | OMRON Part Number US = CLass1 Div2 NO STUD on Relay | OMRON Part Number Z = Bifurcated Contact US = CLass1 Div2 NO STUD on Relay | OMRON Part Number NO STUD on Relay | OMRON Part Number Z = Bifurcated Contact NO STUD on Relay | OMRON Coil Resistance | Grainger Part Number for OMRON
87XDXH2E5-12VAC | 41±10% | MY4H-US AC12 | n/a | MY4H- AC12 | n/a | 46 | n/a
87XDXH2E5-24VAC | 180±10% | MY4H-US AC24 | MY4ZH-US AC24 | MY4H- AC24 | MY4ZH- AC24 | 180 | 1YDG5
87XDXH2E5-120VAC | 4,550±10% | MY4H-US AC110/120 | MY4ZH-US AC110/120 | MY4H- AC110/120 | MY4ZH- AC110/120 | 4430 | 1YDG6
87XDXH2E5-12VDC | 160±10% | MY4H-US DC12 | MY4ZH-US DC12 | MY4H- DC12 | MY4ZH- DC12 | 160 | 1YDG3
87XDXH2E5-24VDC | 650±10% | MY4H-US DC24 | MY4ZH-US DC24 | MY4H- DC24 | MY4ZH- DC24 | 650 | 1YDG4
87XDXH2E5-110/125VDC | 12,000±10% | MY4H-US DC100/110 | MY4ZH-US DC100/110 | MY4H- DC100/110 | MY4ZH- DC100/110 | 11000 | n/a